CORSO DI ELABORAZIONE E PROGETTAZIONE DI STRUMENTAZIONE BIOMEDICA (6 CFU)  (Prof. Agostino Accardo)

OBIETTIVI FORMATIVI

Il modulo ha lo scopo di far ‘toccare con mano’ le problematiche insite nella progettazione, nella realizzazione e nella valutazione di uno strumento virtuale. Vengono richiamati i principi necessari per una corretta progettazione e vengono progettati e realizzati gli stadi principali di un apparecchio elettromedicale seguendo la normativa in vigore.

PROGRAMMA

- Introduzione

- Caratteristiche generali dei segnali biologici e criteri di progetto di strumentazione

- Sorgenti di interferenze e metodi di correzione

- Cenni sugli elettrodi (superficiali e ad ago)

- Approfondimento delle caratteristiche specifiche di alcuni segnali biologici

- Strumenti virtuali: schema generale di apparecchi per il rilevamento dei segnali bioelettrici

- Amplificatori per strumentazione e amplificatori isolati

- Optoaccoppiatori e amplificatori a guadagno variabile

    - Filtri a frequenza variabile e convertitori moltiplicatori

- Cenni sulla sicurezza elettrica delle apparecchiature elettromedicali e relativa normativa CEI

- Cenni sulla radioattività, radioisotopi, onde alfa, beta, X e gamma: RX, angiografia, TAC, scintigrafia, SPECT, PET

- Risonanza magnetica nucleare

- LABORATORIO: progetto e realizzazione di strumentazione biomedica controllata da PC in ambiente Windows

Testi:

Handbook of Bioengineering

Ed. Bronzino

Biomedical Instrumentation

Ed. Webster

ANALYSIS AND DESIGN OF BIOMEDICAL INSTRUMENTATION

(6 CFU)

TOPICS

- Introduction

- Main characteristics of biomedical instrumentation

- Interference sources and noise removal

- Main features of the principal biosignals

- Virtual instrumentation: general diagram of equipments for biosignal acquisition and analysis

- Instrumentation and isolation amplifiers

- Optocouplers and variable gain amplifiers

    - Variable frequency filters and multiplier converters

- Electrical safety in biomedical instrumentation and relative standard (CEI)

- An outline of radioactivity, radioisotopes, X-ray, Angiography, TAC, nuclear medicine (SPECT, PET)

- MNR (Magnetic Nuclear Resonance)

PRACTICAL (in laboratory): design and realization of biomedical instrumentation PC-controlled, in Labview environment (Virtual Instrumentation)